
[image: image1.jpg]


               VILLAGE OF WILLIAMSBURG
2025 Drinking Water Consumer Confidence Report
The Village of Williamsburg has prepared the following report to provide information to you, the consumer, on the quality of our drinking water.  Included within this report is general health information, water quality test results, and how to participate in decisions concerning your drinking water and water system contacts. We are proud to report to you that our drinking water is safe and meets all federal and state requirements.
The Village receives its drinking water from Clermont County, Harsha Lake.  The Clermont County Bob McEwen Water Treatment Plant (BMW) is located near Batavia and draws surface water from Harsha Lake, which was created by constructing a dam across the East Fork of the Little Miami River. Surface water is more susceptible to contamination than ground water, so extensive testing of raw water is conducted frequently. Chemical and bacteriological testing, as well as evaluation of the biological organisms living upstream of the lake, is used to determine raw water quality and identify areas of concern. The Ohio EPA completed a source water assessment for BMW in 2004. The protection area around Harsha Lake and the upstream portions of the East Fork Little Miami River includes a number of commercial and industrial facilities, but the great concern is runoff from agricultural fields, the potential for spills at road and rail crossings, and residential septic systems in the watershed. People who wish to learn more may contact Tim Neyer at (513) 732-7945. Additional information on the watershed collected by Clermont County is available from the Office of Environmental Quality (OEQ) at (513) 732-7894 or the website: http:// www.oeq.net. After treatment, which included Granular Activated Carbon filtration, water from the lake meets all required drinking water standards. 

For the purposes of source water assessments, all surface waters are considered to be susceptible to contamination. By their nature surface waters are open and accessible and can be readily contaminated by chemicals and pathogens, with relatively short travel times from source to the intake. Based on the information compiled for this assessment, the Bob McEwen Water Treatment Plant drinking water source protection area is susceptible to contamination from agricultural, residential, and commercial sources, and from accidental releases and spills. 

The Village of Williamsburg has an emergency connection with Brown County Rural Water Association. We do use the Brown County Rural Water Association connection as needed. We have a current unconditioned license to operate our water system. This report contains information on the water quality received from Brown County Rural Water Association, but a copy of their Consumer Confidence Report can be obtained by contacting 937-375-4106. 

Ohio EPA recently completed a study of Brown County Rural Water Association’s source of drinking water to determine its susceptibility.  According to this study, the aquifer (water saturated zone) that supplies drinking water to the Brown County Rural Water has a high susceptibility to contamination.  This determination is based on the following: the nature of the aquifer in which the drinking water wells are located, presence of a relatively thin protective layer of clay overlying the aquifer, the shallow depth (less than 40 feet below ground surface) of the aquifer, and the presence of significant potential contaminant sources in the protection area, including periodic serious flooding of the Ohio River.        This susceptibility rating means that under currently existing conditions, the potential of the aquifer to become contaminated is relatively high.  This potential can be minimized by implementing appropriate protective measures.  More detailed information about the source water assessment or what consumers can do to help protect the aquifer is available by calling BCRWA at (937) 375-4106 ext. 236.

What are sources of contamination to drinking water? 
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:  (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban Strom water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Federal Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

Who needs to take special precautions?  

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
About your drinking water.
The EPA requires regular sampling to ensure drinking water safety. Samples were collected for several different contaminants, most of which were not detected in the Village of Williamsburg water supply.  The Ohio EPA requires us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though accurate, may be more than one year old. The Village of Williamsburg flushes fire hydrants at the water tower and dead ends monthly to help keep fresh water for our customers. 
	Contaminants (Units)
	MCLG
	MCL
	Level Found
	Range of Detections
	Violation
	Sample Year
	Typical Source of Contaminants

	Residual Disinfectants
	
	
	
	
	
	
	

	Total Chlorine (ppm)
	MRDLG = 4
	MRDL = 4
	1.24
	0.24-1.92
	No
	2025
	Water additive used to control microbes.

	Disinfection Byproducts
	
	
	
	
	
	
	

	Total Trihalomethanes (ppb)
	NA
	80
	49.9
	31.3-66.5
	No
	2025
	By-product of drinking water chlorination.

	HAA5 (ppb)
	NA
	60
	25.7
	13.9-39.0
	No
	2025
	By-product of drinking water chlorination.

	Lead and Copper
	
	
	
	
	
	
	

	Lead (ppb)
	0
	AL=15
	2.6
	<.4-3.3
	No
	2025
	Corrosion of household plumbing systems.

	Copper (ppm)
	1.3
	AL=1.3
	.071
	.003-.109
	No
	2025
	Corrosion of household plumbing systems.


	0 out of 10 samples were found to have lead levels in excess of the lead action level of 15 ppb.

	0 out of 10 samples were found to have copper levels in excess of the copper action level of 1.3 ppm.


Lead Educational Information 
If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The Village of Williamsburg is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791 or at http://www.epa.gov/safewater/lead. 
Our distribution system has no lead, galvanized requiring replacement, or lead status unknown service lines. To determine this, we used the following sources: Field inspections 

License to Operate (LTO) Status Information
In 2025 we had an unconditioned license to operate our water system. PWSID #OH1301411
Public meetings of Village of Williamsburg Council, which meet on the second Thursday of every month at 5:30 p.m.at the Community Building, 107 West Main Street, Williamsburg, Ohio 45176. For more information on your drinking water contact Kyle Cribbet at (513) 724-6107.

Clermont County Water

4400 Haskell Lane

Batavia, Ohio 45103

PWSID #1302212

License to Operate (LTO) Status Information
In 2025 we had an unconditioned license to operate our water system.

Listed below is information on those contaminants that were found in the Clermont County drinking water.

Tap water samples were collected for lead and copper analyses from sample sites throughout the community.
	TABLE OF DETECTED CONTAMINANTS
	
	
	
	
	
	
	
	

	Contaminants (Units)
	MCLG
	MCL
	Level Found
	Range of Detections
	Violation
	Sample Year 
	Typical Source of Contaminants

	Disinfectant and Disinfectant By-Products

	Total Chlorine (ppm)
	MRDLG = 4
	MRDL = 4
	1.2
	1.04 - 1.34
	No
	2025
	Water additive used to control microbes

	Haloacetic Acids (HAA5) (ppb)
	N/A
	60
	27.76
	2.8 -40.8
	No
	2025
	By-product of drinking water disinfection

	Total Trihalomethanes (TTHM) (ppb)
	N/A
	80
	73.32
	11.6 - 113
	No
	2025
	By-product of drinking water disinfection

	Inorganic Contaminants

	Turbidity (NTU)
	TT
	N/A
	0.342
	0.018 - 0.342
	No
	2025
	Soil runoff

	Total Organic Carbon
	TT
	N/A
	1.38
	1.31 - 1.67
	No
	2025
	Naturally present in the environment

	Barium (ppm)
	2
	2
	0.029
	0.025 - 0.035
	No
	2025
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits

	Beryllium (ppb)
	4
	4
	0.063
	ND - 0.1
	No
	2025
	Discharge from metal refineries and coal - burning factories; Discharge from electrical, aerospace and defence industries.

	Fluoride (ppm)
	4
	4
	0.99
	0.10 - 1.3
	No
	2025
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	Nitrate (ppm)
	10
	10
	1.32
	ND - 1.32
	No
	2025
	Run off from fertilizer use, Leaching from septic tanks, sewage; Erosion of natural deposits

	Lead and Copper

	Contaminants (units)
	Action Level (AL)
	MCLG
	Individual Results over the AL 
	90% of test levels were less than
	Violation
	Year Sampled
	Typical source of Contaminants

	Lead (ppb)
	15 ppb
	0 ppb
	N/A
	2.1
	No
	2023
	Corrosion of household plumbing systems; erosion of natural deposits

	
	0  out of 52 samples were found to have lead levels in excess of the lead action level of 15 ppb.

	Copper (ppm)
	1.3 ppm
	1.3 ppm
	1.51
	0.595
	No
	2023
	Erosions of natural deposits; leaching from wood preservatives; Corrosions of household plumbing systems

	
	1  out of 52 samples were found to have copper levels in excess of the copper action level of 1.3 ppm.


	Table of UMCR5 Contaminants
	
	
	
	

	Contaminant
	MRL
	Average
	Range
	Sample Year

	Perfluorooctanesulfonic acid (PFOS), (ppb)
	0.0040
	2.8176
	ND - 10.9
	2025

	Perfluoroheptanoic acid (PFOA), (ppb)
	0.0040
	1.5956
	ND - 4.13
	2025

	Perfluorobutane Sulfonic Acid (PFBS), (ppb)
	0.0030
	1.0115
	ND - 3.99
	2025

	Perfluorohexane Sulfonic Acid (PFHxS), (ppb)
	0.0030
	0.6511
	ND - 3.12
	2025

	Perffluorohexanoic Acid (PFHxA), (PPB)
	0.0030
	0.2378
	ND - 2.14
	2025


BROWN COUNTY RURAL WATER ASSOCIATION
Drinking Water Consumer Confidence Report
For 2025
BCRWA has prepared the following report to provide information to you, the consumer, on the quality of our drinking water.  Included within this report is general health information, water quality test results, how to participate in decisions concerning your drinking water and water system contacts. We are proud to report to you that our drinking water is safe and meets all federal and state requirements.
BCRWA receives its drinking water from the Ohio River Valley Aquifer through 13 groundwater wells.
Ohio EPA recently completed a study of Brown County Rural Water Association’s source of drinking water to determine its susceptibility.  According to this study, the aquifer (water saturated zone) that supplies drinking water to the Brown County Rural Water has a high susceptibility to contamination.  This determination is based on the following: the nature of the aquifer in which the drinking water wells are located, presence of a relatively thin protective layer of clay overlying the aquifer, the shallow depth (less than 40 feet below ground surface) of the aquifer, and the presence of significant potential contaminant sources in the protection area, including periodic serious flooding of the Ohio River.  This susceptibility rating means that under currently existing conditions, the potential of the aquifer to become contaminated is relatively high.  This potential can be minimized by implementing appropriate protective measures.  More detailed information about the source water assessment or what consumers can do to help protect the aquifer is available by calling BCRWA at (937) 375-4106 ext. 236.

What are sources of contamination to drinking water? 
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:  (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban Strom water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Federal Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

Who needs to take special precautions?  

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

About your drinking water.
The EPA requires regular sampling to ensure drinking water safety. BCRWA conducted sampling for {bacteria; inorganic; and disinfection byproducts} during 2025  Samples were collected for several  different contaminants most of which were not detected in the BCRWA water supply.  The Ohio EPA requires us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though accurate, may be more than one year old.

Table of Detected Contaminants 
Listed below is information on those contaminants that were found in the Brown County Rural Water Association drinking water.

TABLE OF DETECTED CONTAMINANTS

	Contaminants (Units)
	MCLG
	MCL
	Level Found
	Range of Detections
	Violation
	Sample Year
	Typical Source of Contaminants

	Residual Disinfectants

	Total Chlorine (ppm)
	MRDLG = 4
	MRDL = 4
	0.96
	0.87 - 1.
	No
	2025
	Water additive used to control microbes.

	Inorganic Contaminants

	Nitrate (ppm)
	10
	10
	1.41
	NA
	No
	2025
	Runoff from fertilizers, erosion of natural deposits.

	Fluoride (ppm)
	4
	4
	1.0
	0.77- 1.1
	No
	2025
	Water additive required by State of Ohio E.P.A.


	Antimony (ppm)
	0.006
	0.006
	<3
	NA
	No
	2023
	Discharge from refineries; fire retardants; ceramics; electronics

	Barium (ppm)
	2
	2
	0.0065
	NA
	No
	2023
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	Selenium (ppm)
	0.05
	0.05
	<3
	NA
	No
	2023
	Discharge from refineries and mines:  erosion of natural deposits.

	Thallium (ppm)
	0.0005
	0.002
	<1
	NA
	No
	2023
	Discharge from factories

	Beryllium (ppb)
	4
	4
	0.1
	NA
	No
	2023
	Discharge from metal refineries and coal burning factories; Discharge from electrical, aerospace and defense industries

	Disinfection Byproducts

	Total Trihalomethanes (ppb)
	NA
	80
	25.6
	20.6 – 30.6
	No
	2025
	By-product of drinking water chlorination.

	HAA5 (ppb)
	NA
	60
	2.9
	ND-2.9
	No
	2025
	By-product of drinking water chlorination.


	Lead and Copper

	Lead and Copper
	MCLG
	AL
	90th percentile
	# of sites found above the AL
	Range of Detections
	Violation
	Sample Year
	Typical Source of Contaminants

	Lead (ppb)
	0
	15
	0.0
	0-30
	ND – 3.3
	No
	2023
	Corrosion of household plumbing systems.

	Copper (ppm)
	1.3
	1.3
	0.009
	0-30
	ND-0.019
	No
	2023
	Corrosion of household plumbing systems.


Unregulated contaminants are those for which EPA has not established drinking water standards.  The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted.  IN 2023 Brown County Rural Water Association participated in the fifth round of the Unregulated Contaminant Monitoring Rule (UCMR 5). For a copy of the results please call Doug Kelsey at 937-375-4106 ext 236.

There were no detections of any of the UCMR5 contaminants in our drinking water.

Lead Educational Information 
If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. BCRWA is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791 or at http://www.epa.gov/safewater/lead. 
PFAS Information

In 2020, our PWS was sampled as part of the State of Ohio's Drinking Water Per- and Polyfluoroalkyl  Substances (PFAS) Sampling Initiative.  Six PFAS compounds were sampled, and none were detected in our finish drinking water.  For more information about PFAS, please visit pfas.ohio.gov.

License to Operate (LTO) Status Information
In 2025 we had an unconditioned license to operate our water system.

How do I participate in decisions concerning my drinking water?
Public participation and comment are encouraged at the annual Board of Trustees Meeting which is held the fourth Friday of March each year.  
For more information on your drinking water contact:
Doug Kelsey                                                                                                                                                                                                                                                                                          Brown County Rural Water Association (BCRWA)                                                                                                                              3818 US 52 Ripley, Ohio 45167                                                                                                                                         Phone: (937) 375-4106 ext. 236 
email: doug@bcrwa.org                                                                                                                                                                                                                                        www.bcrwa.org
Definitions of some terms contained within this report. 

Maximum Contaminant Level Goal (MCLG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Contaminant level (MCL):  The highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Parts per Million (ppm) or Milligrams per Liter (mg/L) are units of measure for concentration of a contaminant.  A part per million corresponds to one second in a little over 11.5 days.

Parts per Billion (ppb) or Micrograms per Liter (μg/L) are units of measure for concentration of a contaminant.  A part per billion corresponds to one second in 31.7 years.

Maximum Residual Disinfectant Level Goal (MRDLG):  The level of drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Maximum Residual Disinfectant Level (MRDL):  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.   

Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

The “<”symbol: A symbol which means less than.  A result of <5 means that the lowest level that could be detected was 5 and the contaminant in that sample was not detected.

Picocuries per liter (pCi/L):  A common measure of radioactivity.

 


Action which a water Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements system must follow.


Parts per Million (ppm)  or Milligrams per Liter (mg/L) are units of concentration of a contaminant.  A part per million corresponds to one second in a little over 11.5 days.


Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water


Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.   


Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.


Maximum Contaminant level (MCL): The highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.


Parts per Billion (ppb) or Micrograms per Liter (µg/L) are units of measure for concentration of a contaminant.  A part per billion corresponds to one second in 31.7 years.


Less than = <   pci/L = pico curies per liter 





 


Action which a water Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements system must follow.


Parts per Million (ppm)  or Milligrams per Liter (mg/L) are units of concentration of a contaminant.  A part per million corresponds to one second in a little over 11.5 days.


Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water


Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.   


Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.


Maximum Contaminant level (MCL): The highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.


Parts per Billion (ppb) or Micrograms per Liter (µg/L) are units of measure for concentration of a contaminant.  A part per billion corresponds to one second in 31.7 years.


Less than = <   pci/L = pico curies per liter 





 


Action which a water Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements system must follow.


Parts per Million (ppm)  or Milligrams per Liter (mg/L) are units of concentration of a contaminant.  A part per million corresponds to one second in a little over 11.5 days.


Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water


Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.   


Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.


Maximum Contaminant level (MCL): The highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.


Parts per Billion (ppb) or Micrograms per Liter (µg/L) are units of measure for concentration of a contaminant.  A part per billion corresponds to one second in 31.7 years.


Less than = <   pci/L = pico curies per liter 








